## Sheet1
DEYE INVERTER
TYPES OF INVERTER | MIODEL | BRAND | Details / specs | Max Charge Voltage | Recommended Discharge Current | Max Recommended Charge Current
Grid-tie 1P | DEYE 1P-8.0KW GRID-TIE | Deye | 8 kW | N/A (No Battery Input) | N/A | N/A
Grid-tie 1P | DEYE 1P-10.0KW GRID-TIE | Deye | 10 kW | N/A (No Battery Input) | N/A | N/A
Grid-tie 1P | DEYE 1P-6.0KW GRID-TIE | Deye | 6 kW | N/A (No Battery Input) | N/A | N/A
Grid-tie 1P | DEYE 1P-3.6KW GRID-TIE | Deye | 3.6 kW | N/A (No Battery Input) | N/A | N/A
Grid-tie 3P | DEYE-3P-050KW 380V | Deye | 50 kW; 380V | N/A (No Battery Input) | N/A | N/A
Grid-tie 3P | DEYE 3P-10KW LV - GRID TIE | Deye | 10 kW | N/A (No Battery Input) | N/A | N/A
Hybrid 1P | DEYE 1P 12KW HYBRID 18/36/36A | Deye | 12 kW; MPPT 18/36/36A | 60V | 250A | 250A
Hybrid 1P | DEYE 1P 6KW HYBRID 18/18A | Deye | 6 kW; MPPT 18/18A | 60V | 135A | 135A
Hybrid 1P | DEYE 1P 18KW HYBRID 36/36/36A | Deye | 18 kW; MPPT 36/36/36A | 60V | 380A | 380A
Hybrid 1P | DEYE 1P 8KW HYBRID 36/18/18A | Deye | 8 kW; MPPT 36/18/18A | 60V | 190A | 190A
Hybrid 1P | DEYE 1P 10KW HYBRID 36/18/18A | Deye | 10 kW; MPPT 36/18/18A | 60V | 220A | 220A
Hybrid 1P | DEYE 1P 16KW HYBRID 36/36/36A | Deye | 16 kW; MPPT 36/36/36A | 60V | 290A | 290A
Hybrid 3P | DEYE 3P400V 80kw HYBRID HV BATT | Deye | 80 kW; 400V; HV battery | 1,000V | 80A + 80A | 80A + 80A
Hybrid 3P | DEYE 3P400V 50kw HYBRID HV BATT | Deye | 50 kW; 400V; HV battery | 800V | 50A + 50A | 50A + 50A
Hybrid 3P | DEYE 3P 70kw LV HYBRID HV BATT | Deye | 70 kW; HV battery | 1,000V | 80A + 80A | 80A + 80A
Hybrid 3P | DEYE 3P400V 20kw HYBRID LV BATT | Deye | 20 kW; 400V; LV battery | 60V | 350A | 350A
Hybrid 3P | DEYE 3P400V 12kw HYBRID LV BATT | Deye | 12 kW; 400V; LV battery | 60V | 240A* | 240A*
Hybrid 3P | DEYE 3P 30kw LV HYBRID HV BATT | Deye | 30 kW; HV battery | 800V | 50A + 50A | 50A + 50A

## Sheet2
SOLIS INVERTER
TYPES OF INVERTER | MODEL | BRAND | Details / specs | Max Charge Voltage | Recommended Discharge Current | Max Recommended Charge Current
Commercial ESS (inverter + battery set) | SOLIS EVERCORE 125kW + 261.2kWh SET | Solis | Commercial | 936V | 157A | 157A
Grid-tie 1P | SOLIS S6-GR1P6K GRID-TIE 6kW | Solis | 6 kW; Grid-tie 1P; -S = Bluetooth version | 40 – 60 V | 135 A | 135 A
Grid-tie 1P | SOLIS S6-GR1P10K03-NV-ND GRID-TIE 10kW | Solis | 10 kW; Grid-tie 1P | 40 – 60 V | 208 A | 208 A
Grid-tie 1P | SOLIS S5-GR1P8K GRID-TIE 8kW | Solis | 8 kW; Grid-tie 1P | 40 – 60 V | 190 A | 190 A
Grid-tie 1P | SOLIS S6-GR1P5K GRID-TIE 5kW | Solis | 5 kW; Grid-tie 1P | 40 – 60 V | 112 A | 112 A
Grid-tie 1P | SOLIS S6-GR1P3K GRID-TIE 3kW | Solis | 3 kW; Grid-tie 1P | 40 – 60 V | 70 A | 70 A
Grid-tie 3P | SOLIS S6-GC3P200K07-ND GRID-TIE 200kW 480V | Solis | 200 kW; 480V | N/A (No Battery Input) | N/A | N/A
Grid-tie 3P | SOLIS S6-GC3P150K07-NV GRID-TIE 3P 150kW 380-400V | Solis | 150 kW; 380-400V | N/A (No Battery Input) | N/A | N/A
Hybrid 1P | SOLIS S6-EH1P10K-L-PLUS HYBRID 10kW | Solis | 10 kW; LV battery; Hybrid 1P LV battery (21A) | 60V | 190A | 190A
Hybrid 1P | SOLIS S6-EH1P12K03-NV-YD-L HYBRID 12kW | Solis | 12 kW; List says '12W' - typo for 12kW | 60V | 350A | 350A
Hybrid 1P | SOLIS S6-EH1P16K03-NV-YD-L HYBRID 16kW | Solis | 16 kW; LV battery; Hybrid 1P LV battery | 60V | 350A | 350A
Hybrid 1P | SOLIS S6-EH1P6K-L-PLUS HYBRID 6kW | Solis | 6 kW; LV battery; Hybrid 1P LV battery | 60V | 190A | 190A
Hybrid 1P | SOLIS S6-EH1P8K-L-PLUS HYBRID 8kW | Solis | 8 kW; LV battery; Hybrid 1P LV battery | 60V | 190A | 190A
Hybrid 1P | SOLIS S6-EH1P5K-L-PLUS HYBRID 5kW | Solis | 5 kW; LV battery; Hybrid 1P LV battery | 60V | 190A | 190A
Hybrid 3P | SOLIS S6-EH3P125K10-NV-YD-H HYBRID 3P 125kW 380-400V | Solis | 125 kW; 380-400V; HV battery | 800V | 100A + 100A | 100A + 100A
Hybrid 3P | SOLIS S6-EH3P50K-H HYBRID 3P 50kW 380-400V | Solis | 50 kW; 380-400V; HV battery | 800V | 70A + 70A | 70A + 70A
Hybrid 3P | SOLIS S6-EH3P75K10-LV-YD-H HYBRID 3P 75kW 220-230V | Solis | 75 kW; 220-230V; HV battery | 950V | 100A + 100A | 100A + 100A
Hybrid 3P | SOLIS S6-EH3P15K02-NV-YD-L HYBRID 3P 15kW 380-400V | Solis | 15 kW; 380-400V; LV battery | 40-60V | Up to 290A* | Up to 290A*
Hybrid 3P | SOLIS S6-EH3P60K10-LV-YD-H HYBRID 3P 60kW 220-230V | Solis | 60 kW; 220-230V; HV battery | 950V | 100A + 100A | 100A + 100A
Hybrid 3P | SOLIS S6-EH3P30K-H-LV HYBRID 3P 30kW 220-230V | Solis | 30 kW; 220-230V; HV battery; HV battery; list shows '259,00' - confirm | 800V | 140A | 140A
Hybrid 3P | SOLIS S6-EH3P9K02-LV-YD-L HYBRID 3P 9kW 220-230V | Solis | 9 kW; 220-230V; LV battery | 40-60V | 200A | 200A
SOLIS S6-EH3P125K10-NV-YD-H 125kW
SOLIS S6-EH3P50K-H 50kW
SOLIS S6-EH3P75K10-LV-YD-H 75kW
SOLIS S6-EH3P15K02-NV-YD-L 15kW
SOLIS S6-EH3P60K10-LV-YD-H 60kW
SOLIS S6-EH3P30K-H-LV 30kW
SOLIS S6-EH3P9K02-LV-YD-L 9kW

## Sheet3
ONE SOLAR INVERTER
TYPES OF INVERTER | MODEL | BRAND | Details / specs | Max Charge Voltage | Recommended Discharge Current | Max Recommended Charge Current
Charge controllers (MPPT) | 40A ONE MPPT - 12V | One Solar | 0.48 Kw-12V | 14.6V | NO DISCHARGE OUTPUT | 40A
Charge controllers (MPPT) | 40A ONE MPPT - 24V | One Solar | 0.96 Kw-24V | 29.2V | NO DISCHARGE OUTPUT | 40A
Charge controllers (MPPT) | 40A ONE MPPT - 48V | One Solar | 1.92 Kw-48V | 58.4V | NO DISCHARGE OUTPUT | 40A
Charge controllers (MPPT) | 60A ONE MPPT - 12V | One Solar | 0.72 Kw-12V | 14.6V | NO DISCHARGE OUTPUT | 60A
Charge controllers (MPPT) | 60A ONE MPPT - 24V | One Solar | 1.44 Kw-24V | 29.2V | NO DISCHARGE OUTPUT | 60A
Charge controllers (MPPT) | 60A ONE MPPT - 48V | One Solar | 2.88 Kw-48V | 58.4V | NO DISCHARGE OUTPUT | 60A
Charge controllers (MPPT) | 100A ONE MPPT - 12V | One Solar | 1.20 Kw-12V | 14.6V | NO DISCHARGE OUTPUT | 100A
Charge controllers (MPPT) | 100A ONE MPPT - 24V | One Solar | 2.40 Kw-24V | 29.2V | NO DISCHARGE OUTPUT | 100A
Charge controllers (MPPT) | 100A ONE MPPT - 48V | One Solar | 4.80 kW-48V | 58.4V | NO DISCHARGE OUTPUT | 100A
Off-grid | 48V6000W OS WALL TYPE | One Solar | 6 kW; Off-grid | 58.4V | 139A | 80A
Off-grid | 24V3000W OS WALL TYPE | One Solar | 3 kW; Off-grid | 29.2V | 139A | 80A
Off-grid | 48V6000W HYBRID OFF-GRID 80A | One Solar | 6 kW | 58.4V | 139A | 80A
Off-grid | 12V1000W OS WALL TYPE | One Solar | 1 kW; Off-grid | 14.6V | 93A | Verify
Off-grid | 24V3000W HYBRID OFF-GRID 60A | One Solar | 3 kW | 29.2V | 139A | 60A
Off-grid | 12V1200W HYBRID OFF-GRID 40A | One Solar | 1.2 kW | 14.6V | 111A | 40A

## Sheet4
BLUE CARBON INVERTER
TYPES OF INVERTER | MODEL | BRAND | Details / specs | Max Charge Voltage | Recommended Discharge Current | Max Recommended Charge Current
Off-grid | BCT-FXC-1.2KW | BLUE CARBON | 1.2KW-12V | 14.5 V | 80A | 60A
Off-grid/Grid-tie | BCT-FXC-4KW | BLUE CARBON | 4KW-24V | 29.2 V | 120A | 100A
Off-grid/Grid-tie | BCT-FXC-6.5KW | BLUE CARBON | 6.5KW-48V | 58.4 V | 100A | 80A
Off-grid | BCT-FXC-6.5KW-P | BLUE CARBON | 6.5KW-48V | 58.4 V | 100A | 80A
Hybrid | BCT-FXC-6.5KW-H-P | BLUE CARBON | 6.5KW-12V | 58.4 V | 120A | 120A
Hybrid | BCT-FXC-12KW | BLUE CARBON | 12KW-24V | 58.4 V | 160A | 150A

## Sheet5
FELICITY INVERTER
TYPES OF INVERTER | MODEL | BRAND | Details / specs | Max Charge Voltage | Recommended Discharge Current | Max Recommended Charge Current
OFF GRID | IVEM3024 | FELICITY | 3.0KW-230V | 29.2V | 139A | 100A
OFF GRID | IVEM5048 | FELICITY | 5.0KW-230V | 58.4V | 116A | 100A
OFF GRID | IVEM6048 | FELICITY | 6.0KW-230V | 58.4V | 139A | 100A
OFF GRID | IVEM8048 | FELICITY | 8.0KW-230V | 58.4V | 185A | 150A
OFF GRID | IVAM6048P1G1 | FELICITY | 6.0KW-230V | 58.4V | 139A | 135A
OFF GRID | IVBM8048P1G1 | FELICITY | 8.0KW-230V | 58.4V | 185A | 150A
OFF GRID | IVBM10048P1G1 | FELICITY | 10KW-230V | 58.4V | 231A | 200A
Hybrid 1P | IVGM5KLP1G1 | FELICITY | 5.0KW-380V | 58.4V | 109A | 120A
Hybrid 1P | IVGM6KLP1G1 | FELICITY | 6.0KW-380V | 58.4V | 130A | 135A
Hybrid 1P | IVGM7K6LP1G1 | FELICITY | 7.6KW-380V | 58.4V | 165A | 190A
Hybrid 1P | IVGM8KLP1G1 | FELICITY | 8.0KW-380V | 58.4V | 174A | 190A
Hybrid 3P | T-REX-10KLP3GO1 | FELICITY | 13KW-720V | 58.4V–60V | 200A | 13kW
Hybrid 3P | IVGM20KLP3G1 | FELICITY | 32KW | 58.4V–60V | 350A | 32kW
Hybrid 3P | IVGM18KLP3G1 | FELICITY | 28.8KW | 58.4V–60V | 330A | 28.8kW
Hybrid 3P | IVGM15KLP3G1 | FELICITY | 24KW | 58.4V–60V | 280A | 24kW
Hybrid 3P | IVGM14KLP3G1 | FELICITY | 22.4KW | 58.4V–60V | 260A | 22.4kW
Hybrid 3P | IVGM12KLP3G1 | FELICITY | 18KW | 58.4V–60V | 240A | 18kW
Hybrid 3P | IVGM10KLP3G1 | FELICITY | 15KW | 58.4V–60V | 210A | 15kW
Hybrid 3P | IVGM50KHP3G2 | FELICITY | 80KW | Varies by BMS / Up to 800V | 50A + 50A (Dual Input) | 80kW
Hybrid 3P | IVGM40KHP3G2 | FELICITY | 64KW | Varies by BMS / Up to 800V | 50A + 50A (Dual Input) | 64kW
Hybrid 3P | IVGM30KHP3G2 | FELICITY | 48KW | Varies by BMS / Up to 800V | 50A + 50A (Dual Input) | 48kW
Hybrid 3P | IVGM29KHP3G2 | FELICITY | 47.84KW | Varies by BMS / Up to 800V | 50A + 50A (Dual Input) | 47.84kW
Hybrid 3P | IVGM25KHP3G2 | FELICITY | 40KW | Varies by BMS / Up to 800V | 50A + 50A (Dual Input) | 40kW
Charge controllers (MPPT) | SCCM6048-III | FELICITY | 12V | 14.6V | NO DISCHARGE OUTPUT | 60A
Charge controllers (MPPT) | SCCM10048-III | FELICITY | 24V | 14.6V | NO DISCHARGE OUTPUT | 100A
Charge controllers (MPPT) | SCCM12048-III | FELICITY | 48V | 14.6V | NO DISCHARGE OUTPUT | 120A